# *ANNEX II + III:* TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

**Contract title: Supply of consumables for the purposes of the scientific laboratories of the BLUE GROWTH Research Centre at “Prof. D-r Asen Zlatarov” University of Burgas  
Lot 1: Supply of consumables for the Water Pollution Monitoring Lab p 1 /…**

**Publication reference:** CB005.3.12.001 - LP - Supply 13

**Columns 1-2 should be completed by the contracting authority**

**Columns 3-4 should be completed by the tenderer**

**Column 5 is reserved for the evaluation committee**

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

* Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),
* Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)
* Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offeredspecifications.

| **1.**  **Item number** | **2.**  **Specifications required** | **3.**  **Specifications offered** | **4.**  **Notes, remarks,  ref to documentation** | **5.**  **Evaluation committee’s notes** |
| --- | --- | --- | --- | --- |
| **1** | **Membrane filters Nitrocellulose different dimensions of pores 0,80µm**  Material: Cellulose acetate, Nitrate  non-sterile;  Autoclavable;  Diameter: Ø 47mm;  Dimension of the pores: 0,80µm  Set of 100 |  |  |  |
| **2** | **Membrane filters Nitrocellulose different dimensions of pores 0,80µm**  Material: Cellulose acetate, Nitrate  non-sterile;  Autoclavable;  Diameter: Ø 25mm;  Dimension of the pores: 0,80µm  Set of 100 |  |  |  |
| **3** | **Aluminum Oxide Membrane Filters, 0.2 Micron, 25mm, 50/Pk**  Material: Aluminum Oxide  Autoclavable;  Diameter: Ø 25mm; Dimention of the pores: 0.2 μm  Set of 50 |  |  |  |
| **4** | **Syringe filter, NY, dimention of the pores: 0.45 μm**  Material: Cellulose acetate, Nitrate  non-sterile;  Autoclavable;  Diameter: Ø 25mm; Di mention of the pores: 0.45 μm  Set of100 |  |  |  |
| **5** | **Dryer** |  |  |  |